Property Inspection
Unit 1 Lot 10 Bilin Rd, MYOCUM 
3 July 2023

Commentary:
3 Bedroom Duplex on a large parcel of land: well-kept and in reasonably good condition.     Gardens are beautifully kept.
An invasive Palm at front of dwelling needs to be removed.
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Gutter appears to have fallen in middle outside Bathroom Window which could cause overflow in heavy rain. ….. 
May need a support/lifting to rectify.



External Cladding at side of dwelling showing deterioration and rotting due to water ingress. Water appears to come from top of ground floor window.
Rectification: 
· Removal of affected timbers and assess internal frame for latent damage.
· Removal of affected timber cladding and replace with like timber and undercoat and paint. Alternatively, remove timber from above window right across and replace with a fibro material with flashing and sealing at joint … seal and painting.
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Tenant advised that a leak occurred in the carport roof void where plumber fixed leaking pipe to laundry. As discussed with tenants, I would suggest that if another leak occurs, that the pipe be re-directed outside the roof void and along the timber support to avoid cutting ceiling to find any future leaks.
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Concrete tank has had leaks fixed over the years and works well, however I would question why the feeder pipes are lower than the entry of the tank ???? This would create a number of downlet pipes from the rooves being charged all the time which would explain why the leaf catcher screw-on lid is constantly leaking – this is not good for termite activity and may be a cause of the gutter overflows in heavy rain.

I would suggest that the inlet pipes be cut higher to allow the roof water to free-fall into the tank.
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[image: ] [image: A view of a yard from a house
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